Fire Marshals & Fire Wardens

For an organisation to have safely and successfully evacuate all persons from their premises, there must be a sufficient number of suitably qualified and trained persons doing the rights things at the right time.

This not only includes fire marshals and fire wardens but all members of staff and volunteers that work in the premises.

The Fire Safety Order 2006 requires a “Responsible Person” for a building or premises, who has duties under Articles 8 – 22 of the Order. This person has a number of fire safety management duties that include:

Fire precautions for the premises

Prevention and procedures for all times of the day

Carry out regular fire risk assessments or appoint a competent person to do so on their behalf

Maintenance of firefighting equipment

Maintain fire alarms, fire emergency lighting and other fire safety features

Nominate and train competent persons to assist with the fire evacuation

Provide information to staff and relevant persons

Produce a fire emergency plan

General staff also have specific responsibilities under the Fire Safety Order 2006 and must fulfil their “general duty as an employee” under Article 23 of the Order and in addition have a “duty of care” under the Health and Safety at Work Act. Fire marshals and fire wardens are employees or volunteers who have been nominated as competent persons for that role under Articles 15 – 18 of the RRO. Their competence has been determined by:

The extent of their training (should be relevant to the premises in which they work)

Fire marshal training via instruction and regular fire drills

Their experience and knowledge of their workplace and the activities that take place there

Other suitable qualities to ensure the implementation of the organisations fire evacuation process.

Fire marshal training is required on a regular basis. The frequency will be determined by the organisations fire risk assessment significant findings (as required by Article 9) and the fire emergency plan. Fire marshal training / fire warden training should be carried out, initially, because of any change in circumstances in the premises, because of new or increased risk and periodically in accordance with Article 21 of the RRO.

Steve Dilloway BAFE SP205 Certified Risk Assessor ID 302298