March 2025

Understanding the use of Photoluminescence materials for escape support

In accordance with CIBSIE guidance notes pages 79-80 sub section 7.8.4 the following can be considered as acceptable.

Emergency Wayfinding systems which consist of low-level mounted tracks of light and markings for/of doorways on exit routes can be used in conjunction with standard exit and directional signs.

These systems come into operation when power to the normal lighting supply is lost and/or when a fire alarm system is activated, these systems can be (1) powered or (2) Photoluminescent

Steve Dilloway GiFireE & BAFE SP205 Certified Risk Assessor